## Read Me
How to Use This Workbook
Purpose
Field-ready checklist for OSHA 29 CFR 1926 construction compliance audits, consulting walkthroughs, and corrective action tracking.
Instructions
1. Go to the Master Checklist sheet.
2. Filter by Topic, Subpart, OSHA Reference, Priority, or Status.
3. Use the Status drop-down: Open, Compliant, Noncompliant, or N/A.
4. Record site-specific notes, corrective actions, and the owner / due date.
5. Review the Summary sheet to see totals and open gaps by topic.
6. Use the Sources sheet for the primary OSHA/eCFR source links used to structure this tool.
Color Guide
Open | Orange
Compliant | Green
Noncompliant | Light red

## Summary
1926 Audit Summary Dashboard
Use the Master Checklist sheet to update status; this dashboard summarizes completion by topic.
Metric | Value | Topic | Total | Noncompliant
Total checkpoints | 153 | General Safety & Health Provisions | 10 | 0
Compliant | 0 | Administrative / Posting | 2 | 0
Noncompliant | 0 | Personal Protective Equipment | 10 | 0
Open | 0 | Fire Protection / Flammables / Hot Work | 9 | 0
N/A | 0 | Electrical Safety | 9 | 0
Completion rate | 0% | Medical / Sanitation | 5 | 0
|  | Stairways and Ladders | 8 | 0
|  | Scaffolds / Aerial Lifts | 10 | 0
|  | Fall Protection | 8 | 0
|  | Excavations / Trenching | 8 | 0
|  | Cranes / Derricks / Hoisting | 9 | 0
|  | Materials Handling / Rigging | 4 | 0
|  | Tools / Hand and Power Tools / Machine Guarding | 6 | 0
|  | Motor Vehicles / Mechanized Equipment / Forklifts | 5 | 0
|  | Concrete / Masonry | 7 | 0
|  | Steel Erection | 7 | 0
|  | Demolition | 5 | 0
|  | Confined Spaces in Construction | 7 | 0
|  | Respirable Crystalline Silica | 7 | 0
|  | Lead in Construction | 6 | 0
|  | Hazard Communication | 4 | 0
|  | Underground Construction / Cofferdams | 4 | 0
|  | Signs / Signals / Barricades | 3 | 0

## Sources
Primary Source References
Authoritative sources used to structure the checklist.
Source | URL | Notes
OSHA 29 CFR 1926 Table of Contents | https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926TableofContents | Official OSHA index of Part 1926 subparts and sections.
OSHA 29 CFR 1926 main page | https://www.osha.gov/laws-regs/regulations/standardnumber/1926 | Official OSHA standards page for construction.
eCFR Part 1926 | https://www.ecfr.gov/current/title-29/subtitle-B/chapter-XVII/part-1926?toc=1 | Current electronic Code of Federal Regulations for Part 1926.
OSHA Subpart P - Excavations | https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926SubpartP | Used for trenching/excavation checkpoint validation.
OSHA Subpart L - Scaffolds | https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926SubpartL | Used for scaffold checkpoint validation.
OSHA Subpart K - Electrical | https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926SubpartK | Used for electrical checkpoint validation.
OSHA Subpart CC - Cranes and Derricks | https://www.osha.gov/laws-regs/regulations/standardnumber/1926/1926SubpartCC | Used for crane/hoisting checkpoint validation.

## Master Checklist
OSHA 29 CFR 1926 Construction Compliance Checklist
Built for topic/reference-based field audits, gap assessments, and corrective action tracking.
Topic | Subpart / Standard | OSHA Reference | Compliance Question | Status | Notes | Corrective Action | Owner / Due Date | Priority
General Safety & Health Provisions | Subpart C | 1926.20(b)(1) | Employer has an accident prevention program addressing site-specific hazards. |  |  |  |  | High
General Safety & Health Provisions | Subpart C | 1926.20(b)(2) | Frequent and regular inspections are conducted by a competent person. |  |  |  |  | High
General Safety & Health Provisions | Subpart C | 1926.20(b)(3) | Employees required to comply with applicable safety rules and procedures. |  |  |  |  | Medium
General Safety & Health Provisions | Subpart C | 1926.21(b)(2) | Employees are instructed in recognition and avoidance of unsafe conditions. |  |  |  |  | High
General Safety & Health Provisions | Subpart C | 1926.23(a) | Only qualified employees operate equipment and machinery when qualification is required. |  |  |  |  | High
General Safety & Health Provisions | Subpart C | 1926.24 | Medical services and first aid provisions are available. |  |  |  |  | High
General Safety & Health Provisions | Subpart C | 1926.25(a) | Housekeeping is maintained to prevent tripping, fire, and access hazards. |  |  |  |  | Medium
General Safety & Health Provisions | Subpart C | 1926.25(b) | Combustible scrap and debris are removed at regular intervals. |  |  |  |  | Medium
General Safety & Health Provisions | Subpart C | 1926.25(c) | Work areas, passageways, and stairs are kept orderly and sanitary. |  |  |  |  | Medium
General Safety & Health Provisions | Subpart C | 1926.26 | Illumination is adequate for work areas, access routes, and emergency conditions. |  |  |  |  | Medium
Administrative / Posting | Related OSHA requirement | 1903.2(a) | OSHA Job Safety and Health poster is displayed where employees can see it. |  |  |  |  | Low
Administrative / Posting | Related OSHA requirement | 1904.29(b)(3) | Injury and illness records are completed within required timeframes, if applicable. |  |  |  |  | Medium
Personal Protective Equipment | Subpart E | 1926.95(a) | Appropriate PPE is provided, used, and maintained where hazards are present. |  |  |  |  | High
Personal Protective Equipment | Subpart E | 1926.95(c) | PPE is of safe design and construction for the work performed. |  |  |  |  | Medium
Personal Protective Equipment | Subpart E | 1926.96 | Protective footwear is used where there is risk of foot injury. |  |  |  |  | Medium
Personal Protective Equipment | Subpart E | 1926.100(a) | Employees exposed to head injury hazards wear protective helmets. |  |  |  |  | High
Personal Protective Equipment | Subpart E | 1926.101(a) | Hearing protection is provided where noise exposure warrants protection. |  |  |  |  | Medium
Personal Protective Equipment | Subpart E | 1926.102(a) | Eye or face protection is used where flying particles, molten metal, or chemical hazards exist. |  |  |  |  | High
Personal Protective Equipment | Subpart E | 1926.102(a)(2) | Employees who wear prescription lenses use eye protection that incorporates or fits over them. |  |  |  |  | Medium
Personal Protective Equipment | Subpart E | 1926.102(b) | Eye and face protection is distinctly marked to facilitate identification of the manufacturer. |  |  |  |  | Low
Personal Protective Equipment | Subpart E | 1926.102(c) | Employees exposed to laser beams use suitable laser safety eyewear where required. |  |  |  |  | Medium
Personal Protective Equipment | Subpart E | 1926.103(a) | Respiratory protection is provided and used when necessary to protect employee health. |  |  |  |  | High
Fire Protection / Flammables / Hot Work | Subpart F / J | 1926.150(c)(1) | Fire extinguishers are provided in accessible locations on the jobsite. |  |  |  |  | High
Fire Protection / Flammables / Hot Work | Subpart F / J | 1926.150(c)(1)(i) | A fire extinguisher rated not less than 2A is provided for each 3,000 sq. ft. of protected area. |  |  |  |  | Medium
Fire Protection / Flammables / Hot Work | Subpart F / J | 1926.150(c)(1)(ii) | Travel distance to a fire extinguisher does not exceed 100 feet. |  |  |  |  | Medium
Fire Protection / Flammables / Hot Work | Subpart F / J | 1926.150(d) | Fire extinguishers are visually inspected and maintained in operable condition. |  |  |  |  | Medium
Fire Protection / Flammables / Hot Work | Subpart F / J | 1926.151(a) | Ignition hazards are controlled and temporary buildings are separated as required. |  |  |  |  | Medium
Fire Protection / Flammables / Hot Work | Subpart F / J | 1926.152(a) | Only approved containers and portable tanks are used for flammable and combustible liquids. |  |  |  |  | High
Fire Protection / Flammables / Hot Work | Subpart F / J | 1926.152(f) | Dispensing and transfer of flammable liquids are controlled to prevent ignition. |  |  |  |  | High
Fire Protection / Flammables / Hot Work | Subpart F / J | 1926.352(d) | A fire watch is maintained during and after hot work when required. |  |  |  |  | High
Fire Protection / Flammables / Hot Work | Subpart F / J | 1926.352(e) | Suitable fire extinguishing equipment is immediately available for welding/cutting operations. |  |  |  |  | High
Electrical Safety | Subpart K | 1926.403(b)(1) | Listed/labeled electrical equipment is installed and used according to instructions. |  |  |  |  | High
Electrical Safety | Subpart K | 1926.403(i)(2) | Live parts operating at 50 volts or more are guarded against accidental contact. |  |  |  |  | High
Electrical Safety | Subpart K | 1926.404(b)(1) | GFCI protection or an assured equipment grounding conductor program is used on 120-volt receptacles. |  |  |  |  | High
Electrical Safety | Subpart K | 1926.404(b)(1)(iii) | Assured equipment grounding conductor program includes daily visual inspections and periodic tests. |  |  |  |  | High
Electrical Safety | Subpart K | 1926.404(f)(7)(iv) | Extension cords and flexible cords are not run through holes, doors, windows, or pinch points unless protected. |  |  |  |  | Medium
Electrical Safety | Subpart K | 1926.405(a)(2)(ii)(I) | Temporary wiring is removed immediately upon completion or when no longer needed. |  |  |  |  | Medium
Electrical Safety | Subpart K | 1926.405(g)(2)(iii) | Flexible cords are connected to devices and fittings to prevent strain relief failure. |  |  |  |  | Medium
Electrical Safety | Subpart K | 1926.416(a)(1) | Employees do not work so close to electric power circuits that contact is possible unless protected. |  |  |  |  | High
Electrical Safety | Subpart K | 1926.417(a) | Controls that are to be deactivated during work are tagged. |  |  |  |  | High
Medical / Sanitation | Subpart D | 1926.50(c) | A person trained in first aid is available when no infirmary, clinic, hospital, or physician is reasonably accessible. |  |  |  |  | High
Medical / Sanitation | Subpart D | 1926.50(d)(1) | First aid supplies are available and easily accessible. |  |  |  |  | High
Medical / Sanitation | Subpart D | 1926.51(a) | Adequate potable water is provided. |  |  |  |  | Medium
Medical / Sanitation | Subpart D | 1926.51(c) | Toilet facilities are provided and maintained in sanitary condition. |  |  |  |  | Medium
Medical / Sanitation | Subpart D | 1926.51(f) | Handwashing facilities are provided where employees handle materials that may be harmful. |  |  |  |  | Medium
Stairways and Ladders | Subpart X | 1926.1051(a) | Stairways or ladders are provided at all personnel points of access where there is a break in elevation of 19 inches or more. |  |  |  |  | High
Stairways and Ladders | Subpart X | 1926.1052(c)(1) | Stairrails/handrails are installed on stairways with four or more risers or rising more than 30 inches. |  |  |  |  | Medium
Stairways and Ladders | Subpart X | 1926.1052(a)(3) | Stairways are kept clear of hazardous projections, debris, and slippery conditions. |  |  |  |  | Medium
Stairways and Ladders | Subpart X | 1926.1053(b)(1) | Portable ladders used for upper landing access extend at least 3 feet above the landing surface. |  |  |  |  | High
Stairways and Ladders | Subpart X | 1926.1053(b)(4) | Ladders are used only on stable and level surfaces unless secured. |  |  |  |  | High
Stairways and Ladders | Subpart X | 1926.1053(b)(13) | Employees do not stand on top step or top cap of stepladders. |  |  |  |  | Medium
Stairways and Ladders | Subpart X | 1926.1053(b)(16) | Ladders with structural defects are immediately tagged and removed from service. |  |  |  |  | High
Stairways and Ladders | Subpart X | 1926.1060(a) | Employees using ladders and stairways are trained by a competent person as necessary. |  |  |  |  | Medium
Scaffolds / Aerial Lifts | Subpart L | 1926.451(a)(1) | Scaffolds and scaffold components support, without failure, their own weight and at least 4 times the maximum intended load. |  |  |  |  | High
Scaffolds / Aerial Lifts | Subpart L | 1926.451(b)(1) | Platforms on all working levels are fully planked or decked, as far as practicable. |  |  |  |  | High
Scaffolds / Aerial Lifts | Subpart L | 1926.451(c)(2) | Scaffolds are restrained from tipping by guys, ties, braces, or equivalent means when required. |  |  |  |  | High
Scaffolds / Aerial Lifts | Subpart L | 1926.451(e)(1) | Proper access is provided when scaffold platforms are more than 2 feet above or below a point of access. |  |  |  |  | Medium
Scaffolds / Aerial Lifts | Subpart L | 1926.451(f)(3) | A competent person inspects scaffolds and components for visible defects before each work shift and after any occurrence affecting integrity. |  |  |  |  | High
Scaffolds / Aerial Lifts | Subpart L | 1926.451(g)(1) | Employees on scaffolds more than 10 feet above a lower level are protected from falls. |  |  |  |  | High
Scaffolds / Aerial Lifts | Subpart L | 1926.451(h)(1) | Hard hats are worn and falling object protection is provided where employees are exposed. |  |  |  |  | Medium
Scaffolds / Aerial Lifts | Subpart L | 1926.452 | Specific scaffold type requirements are met for the scaffold configuration in use. |  |  |  |  | High
Scaffolds / Aerial Lifts | Subpart L | 1926.453(b)(2)(v) | Employees stand firmly on the floor of aerial lifts and do not climb or sit on guardrails. |  |  |  |  | High
Scaffolds / Aerial Lifts | Subpart L | 1926.454(a) | Each employee who performs work while on a scaffold is trained by a qualified person. |  |  |  |  | Medium
Fall Protection | Subpart M | 1926.501(b)(1) | Employees on walking/working surfaces with unprotected sides or edges 6 feet or more above lower levels are protected from falls. |  |  |  |  | High
Fall Protection | Subpart M | 1926.501(b)(4) | Employees are protected from falling through holes, including skylights. |  |  |  |  | High
Fall Protection | Subpart M | 1926.501(b)(10) | Roofing work on low-slope roofs uses compliant fall protection systems. |  |  |  |  | High
Fall Protection | Subpart M | 1926.501(b)(13) | Residential construction uses conventional fall protection unless a valid alternate method is permitted. |  |  |  |  | High
Fall Protection | Subpart M | 1926.502(b) | Guardrail systems meet OSHA strength and dimensional criteria. |  |  |  |  | High
Fall Protection | Subpart M | 1926.502(d) | Personal fall arrest systems are used, rigged, and anchored to limit free fall and arrest forces. |  |  |  |  | High
Fall Protection | Subpart M | 1926.502(i) | Covers for holes are capable of supporting intended loads, secured, and marked. |  |  |  |  | High
Fall Protection | Subpart M | 1926.503(a) | Employees exposed to fall hazards are trained and training is documented. |  |  |  |  | Medium
Excavations / Trenching | Subpart P | 1926.651(c)(2) | Means of egress are provided in trench excavations 4 feet or more in depth so no more than 25 feet of lateral travel is required. |  |  |  |  | High
Excavations / Trenching | Subpart P | 1926.651(j)(2) | Excavated materials and equipment are kept at least 2 feet from the edge of excavations or retained. |  |  |  |  | High
Excavations / Trenching | Subpart P | 1926.651(k)(1) | A competent person inspects excavations, adjacent areas, and protective systems daily and as conditions change. |  |  |  |  | High
Excavations / Trenching | Subpart P | 1926.651(h)(1) | Precautions are taken to protect employees from water accumulation. |  |  |  |  | High
Excavations / Trenching | Subpart P | 1926.651(i)(1) | Employees are protected from loose rock or soil that could fall or roll into an excavation. |  |  |  |  | High
Excavations / Trenching | Subpart P | 1926.652(a)(1) | Each employee in an excavation is protected from cave-ins by an adequate protective system unless exempted. |  |  |  |  | High
Excavations / Trenching | Subpart P | 1926.652(b) | Sloping and benching systems are selected and used according to soil classification or tabulated data. |  |  |  |  | High
Excavations / Trenching | Subpart P | 1926.652(c) | Support systems, shield systems, and other protective systems are designed and used in accordance with the standard. |  |  |  |  | High
Cranes / Derricks / Hoisting | Subpart CC | 1926.1407 | The employer ensures crane assembly/disassembly is directed by a qualified or competent person as required. |  |  |  |  | High
Cranes / Derricks / Hoisting | Subpart CC | 1926.1408 | Required minimum approach distances from power lines are maintained or protective measures are implemented. |  |  |  |  | High
Cranes / Derricks / Hoisting | Subpart CC | 1926.1412 | Shift, monthly, and annual crane inspections are performed as required and documented where required. |  |  |  |  | High
Cranes / Derricks / Hoisting | Subpart CC | 1926.1417(a) | Rated capacity and related information are available to the operator at the controls. |  |  |  |  | High
Cranes / Derricks / Hoisting | Subpart CC | 1926.1418 | Ground conditions are firm, drained, and graded to support equipment and load. |  |  |  |  | High
Cranes / Derricks / Hoisting | Subpart CC | 1926.1425(c) | Multiple-crane/derrick lifts are planned and conducted under qualified supervision. |  |  |  |  | High
Cranes / Derricks / Hoisting | Subpart CC | 1926.1427 | Crane operators are trained, evaluated, and qualified/certified as required. |  |  |  |  | High
Cranes / Derricks / Hoisting | Subpart CC | 1926.1428 | Signal persons are qualified and use standard methods. |  |  |  |  | High
Cranes / Derricks / Hoisting | Subpart CC | 1926.1431 | Hoisting personnel by crane is prohibited except where the standard's criteria are met. |  |  |  |  | High
Materials Handling / Rigging | Subpart H | 1926.250(a)(1) | Materials are stored in a safe and orderly manner that does not create hazards. |  |  |  |  | Medium
Materials Handling / Rigging | Subpart H | 1926.251(a)(1) | Rigging equipment for material handling is inspected before use on each shift and as necessary during use. |  |  |  |  | High
Materials Handling / Rigging | Subpart H | 1926.251(a)(4) | Defective rigging equipment is removed from service. |  |  |  |  | High
Materials Handling / Rigging | Subpart H | 1926.251(c)(9) | Hooks, rings, oblong links, pear-shaped links, welded or mechanical coupling links have adequate rated capacity. |  |  |  |  | High
Tools / Hand and Power Tools / Machine Guarding | Subpart I | 1926.300(b)(1) | Machine guarding is provided to protect operators and employees from hazards such as point of operation, nip points, and flying chips. |  |  |  |  | High
Tools / Hand and Power Tools / Machine Guarding | Subpart I | 1926.300(b)(2) | Belts, gears, shafts, pulleys, sprockets, and other moving parts are guarded. |  |  |  |  | High
Tools / Hand and Power Tools / Machine Guarding | Subpart I | 1926.302(a)(1) | Power-operated hand tools are equipped with guards and safety switches as required. |  |  |  |  | High
Tools / Hand and Power Tools / Machine Guarding | Subpart I | 1926.302(b)(7) | Pneumatic power tools are secured to the hose or whip by positive means. |  |  |  |  | Medium
Tools / Hand and Power Tools / Machine Guarding | Subpart I | 1926.303(c)(3) | Bench and floor stands for abrasive wheels are designed and maintained properly. |  |  |  |  | Medium
Tools / Hand and Power Tools / Machine Guarding | Subpart I | 1926.303(c)(5) | Work rests on grinding machines are adjusted closely to the wheel. |  |  |  |  | Medium
Motor Vehicles / Mechanized Equipment / Forklifts | Subpart O | 1926.600(a)(6) | All equipment left unattended has load-engaging means lowered, controls neutralized, brakes set, engine shut off, and wheels blocked when necessary. |  |  |  |  | High
Motor Vehicles / Mechanized Equipment / Forklifts | Subpart O | 1926.601(b)(4) | Bidirectional vehicles with obstructed rear view have backup alarms or observers. |  |  |  |  | High
Motor Vehicles / Mechanized Equipment / Forklifts | Subpart O | 1926.602(a)(2)(i) | Earthmoving equipment with rollover hazards has rollover protective structures where required. |  |  |  |  | High
Motor Vehicles / Mechanized Equipment / Forklifts | Subpart O | 1926.602(a)(2)(ii) | Seat belts are provided and used on applicable equipment. |  |  |  |  | High
Motor Vehicles / Mechanized Equipment / Forklifts | Subpart O | 1926.602(c)(1)(vi) | Forklift trucks are not modified without manufacturer approval. |  |  |  |  | Medium
Concrete / Masonry | Subpart Q | 1926.701(b) | Employees working above vertically protruding rebar are protected from impalement. |  |  |  |  | High
Concrete / Masonry | Subpart Q | 1926.701(f) | No loads are placed on concrete structures unless a qualified person determines the structure can support the loads. |  |  |  |  | High
Concrete / Masonry | Subpart Q | 1926.702(a) | Concrete and masonry equipment and tools are inspected before use. |  |  |  |  | Medium
Concrete / Masonry | Subpart Q | 1926.703(a)(1) | Formwork is designed, fabricated, erected, supported, braced, and maintained to support loads without failure. |  |  |  |  | High
Concrete / Masonry | Subpart Q | 1926.703(e) | Shoring and reshoring equipment is inspected prior to and during placement of concrete. |  |  |  |  | High
Concrete / Masonry | Subpart Q | 1926.704(a) | Precast concrete members are lifted and supported only by inserts designed for that purpose. |  |  |  |  | High
Concrete / Masonry | Subpart Q | 1926.706(a) | A limited access zone is established whenever a masonry wall is being constructed. |  |  |  |  | High
Steel Erection | Subpart R | 1926.752(a) | Site layout and construction sequence support safe steel erection operations. |  |  |  |  | High
Steel Erection | Subpart R | 1926.753(c) | Rigging for steel erection is inspected prior to each shift. |  |  |  |  | High
Steel Erection | Subpart R | 1926.754(a) | Structural steel is not released from the hoisting line until it is secured with at least the required connections. |  |  |  |  | High
Steel Erection | Subpart R | 1926.755(a) | Anchor rods and column stability requirements are met before placing loads. |  |  |  |  | High
Steel Erection | Subpart R | 1926.756(c) | Beams and columns are connected as required before releasing the load. |  |  |  |  | High
Steel Erection | Subpart R | 1926.760(a) | Employees engaged in steel erection activities at heights are protected from fall hazards as required. |  |  |  |  | High
Steel Erection | Subpart R | 1926.761 | Employees engaged in steel erection activities are trained by a qualified person. |  |  |  |  | Medium
Demolition | Subpart T | 1926.850(a) | An engineering survey is made by a competent person prior to demolition to determine condition and hazards. |  |  |  |  | High
Demolition | Subpart T | 1926.850(b) | Utilities are shut off, capped, or otherwise controlled before demolition begins. |  |  |  |  | High
Demolition | Subpart T | 1926.850(c) | Adjacent structures are protected and employees warned or removed when hazards exist. |  |  |  |  | High
Demolition | Subpart T | 1926.852(a) | Stairs, passageways, and ladders are maintained in safe condition during demolition. |  |  |  |  | High
Demolition | Subpart T | 1926.859(g) | No employee works on top of a wall being demolished when it is hazardous. |  |  |  |  | High
Confined Spaces in Construction | Subpart AA | 1926.1203(a) | Before employee entry, the employer identifies all confined spaces in which one or more employees may work. |  |  |  |  | High
Confined Spaces in Construction | Subpart AA | 1926.1203(b) | Information about permit spaces is communicated to exposed employees by signage or other effective means. |  |  |  |  | High
Confined Spaces in Construction | Subpart AA | 1926.1204 | A written permit-required confined space program is implemented where required. |  |  |  |  | High
Confined Spaces in Construction | Subpart AA | 1926.1205 | Permit space entries use a compliant permitting process. |  |  |  |  | High
Confined Spaces in Construction | Subpart AA | 1926.1206 | Entry permits contain all required information. |  |  |  |  | High
Confined Spaces in Construction | Subpart AA | 1926.1207 | Entrants, attendants, and entry supervisors are trained. |  |  |  |  | High
Confined Spaces in Construction | Subpart AA | 1926.1211 | Rescue and emergency services are available and capable of timely response. |  |  |  |  | High
Respirable Crystalline Silica | 1926.1153 | 1926.1153(c)(1) | Exposure control methods are implemented per Table 1 or an exposure assessment. |  |  |  |  | High
Respirable Crystalline Silica | 1926.1153 | 1926.1153(d)(1) | A written exposure control plan is established and implemented. |  |  |  |  | High
Respirable Crystalline Silica | 1926.1153 | 1926.1153(d)(3) | A competent person is designated to implement the written exposure control plan. |  |  |  |  | High
Respirable Crystalline Silica | 1926.1153 | 1926.1153(e)(1) | Housekeeping practices that expose employees to silica are prohibited unless allowed by the standard. |  |  |  |  | High
Respirable Crystalline Silica | 1926.1153 | 1926.1153(f)(1) | Respiratory protection is provided and used where required by the silica standard. |  |  |  |  | High
Respirable Crystalline Silica | 1926.1153 | 1926.1153(g)(1) | Employees are offered medical surveillance where required. |  |  |  |  | Medium
Respirable Crystalline Silica | 1926.1153 | 1926.1153(i)(2) | Employees are trained on silica hazards and controls. |  |  |  |  | High
Lead in Construction | 1926.62 | 1926.62(d) | Employee exposure to lead is assessed and monitored as required. |  |  |  |  | High
Lead in Construction | 1926.62 | 1926.62(e) | Lead exposure is controlled using engineering and work practice controls where feasible. |  |  |  |  | High
Lead in Construction | 1926.62 | 1926.62(f) | Respiratory protection is provided when required by the lead standard. |  |  |  |  | High
Lead in Construction | 1926.62 | 1926.62(g) | Protective work clothing and equipment are provided where required. |  |  |  |  | High
Lead in Construction | 1926.62 | 1926.62(i) | Handwashing, clean change areas, and hygiene facilities are provided where required. |  |  |  |  | Medium
Lead in Construction | 1926.62 | 1926.62(l) | Employees are trained regarding lead hazards and protections. |  |  |  |  | High
Hazard Communication | 1910.1200 (applies to construction) | 1910.1200(e)(1) | A written hazard communication program is maintained. |  |  |  |  | High
Hazard Communication | 1910.1200 (applies to construction) | 1910.1200(f)(1) | Hazardous chemical containers are labeled, tagged, or marked. |  |  |  |  | High
Hazard Communication | 1910.1200 (applies to construction) | 1910.1200(g)(8) | Safety data sheets are readily accessible to employees during each work shift. |  |  |  |  | High
Hazard Communication | 1910.1200 (applies to construction) | 1910.1200(h)(1) | Employees are trained on hazardous chemicals in their work area. |  |  |  |  | High
Underground Construction / Cofferdams | Subpart S | 1926.800(c) | Underground construction operations have a check-in/check-out system and communication capability as required. |  |  |  |  | High
Underground Construction / Cofferdams | Subpart S | 1926.800(h) | Air monitoring and ventilation are provided where hazardous atmospheres may exist. |  |  |  |  | High
Underground Construction / Cofferdams | Subpart S | 1926.800(k) | Employees are protected from underground electrical hazards. |  |  |  |  | High
Underground Construction / Cofferdams | Subpart S | 1926.802(a) | Cofferdams are constructed, maintained, and inspected by a competent person. |  |  |  |  | High
Signs / Signals / Barricades | Subpart G | 1926.200(a) | Accident prevention signs and tags are used where appropriate to warn employees of hazards. |  |  |  |  | Medium
Signs / Signals / Barricades | Subpart G | 1926.201(a) | Signaling practices are used when operations require directed movement of equipment or vehicles. |  |  |  |  | Medium
Signs / Signals / Barricades | Subpart G | 1926.202 | Barricades are used where necessary to protect employees from traffic or other hazards. |  |  |  |  | Medium
Note on E4: Use the drop-down to mark the checkpoint status.
Note on G4: Record the specific corrective action needed to close the gap.
Note on H4: Enter responsible person and target due date.